## CMOS.6106.1.SH.TS1.Ins1.r1.a
x-uncal | z-uncal | z-uncal |  | RM 8096 - STEP HEIGHT (Trace a, b, or c) |  | 2012-04-30
Suggested steps to follow to obtain step height data from Trace a, b, or c:
um | um | um | 1 | Start with uncalibrated x data in Column A and uncalibrated z data in Column B
0 | 0.017123 | 0.017123 | 2 | Copy Column B data to Column C
0.39477 | 0.025752 | 0.025752 | 3 | Plot the data in Columns A and B
0.78955 | 0.0090654 | 0.0090654 | 4 | Plot the data in Columns A and C
1.1843 | -0.0032858 | -0.0032858 | 5 | Identify the platforms in this plot from which data is to be obtained.
1.5791 | -0.015829 | -0.015829 | 6 | Locate the data transitions on both sides of each identified platform.
1.9739 | -0.018824 | -0.018824 |  |  | This can be done by removing the z values of some of the data points.
2.3687 | -0.0273 | -0.0273 |  |  | in Column C.
2.7634 | -0.034373 | -0.034373 | 7 | Remove the z values of data points in Column C that are along each platform and
3.1582 | -0.038463 | -0.038463 |  |  | that will not be included in the analysis, as ascertained in the standard.
3.553 | -0.038475 | -0.038475 |  |  | This would include the z values near the data transitions as well as any
3.9478 | -0.04263 | -0.04263 |  |  | extraneous z values.
4.3425 | -0.034846 | -0.034846 | 8 | From the remaining z values along each identified platform, calculate the average
4.7373 | -0.019131 | -0.019131 |  |  | platform height (platNXt or platNYt) and the standard deviation
5.1321 | -0.019513 | -0.019513 |  |  | (splatNXt or splatNYt).
5.5268 | -0.032181 | -0.032181 | 9 | The above values for platNXt, platNYt, splatNXt, and splatNYt are entered into
5.9216 | -0.042389 | -0.042389 |  |  | Data Sheet SH.1.a for the identified step height in the given data trace.
6.3164 | -0.036381 | -0.036381
6.7112 | -0.024111 | -0.024111
7.1059 | -0.01405 | -0.01405
7.5007 | -0.010315 | -0.010315
7.8955 | -0.020233 | -0.020233
8.2903 | -0.023951 | -0.023951
8.685 | -0.019504 | -0.019504
9.0798 | -0.013539 | -0.013539
9.4746 | -0.010964 | -0.010964
9.8694 | 0.0071143 | 0.0071143
10.2641 | 0.029891 | 0.029891
10.6589 | 0.032745 | 0.032745
11.0537 | 0.0034275 | 0.0034275
11.4485 | -0.021453 | -0.021453
11.8432 | -0.016585 | -0.016585
12.238 | -0.0027604 | -0.0027604
12.6328 | 0.011397 | 0.011397
13.0276 | 0.024953 | 0.024953
13.4223 | 0.03056 | 0.03056
13.8171 | 0.021053 | 0.021053
14.2119 | -0.0069478 | -0.0069478
14.6067 | -0.032868 | -0.032868
15.0014 | -0.040266 | -0.040266
15.3962 | -0.028891 | -0.028891
15.791 | -0.0034752 | -0.0034752
16.1858 | -0.0015234 | -0.0015234
16.5805 | -0.011942 | -0.011942
16.9753 | -0.02304 | -0.02304
17.3701 | -0.024793 | -0.024793
17.7649 | -0.0235 | -0.0235
18.1596 | -0.018511 | -0.018511
18.5544 | -0.007078 | -0.007078
18.9492 | -0.025039 | -0.025039
19.344 | -0.045083 | -0.045083
19.7387 | -0.043217 | -0.043217
20.1335 | -0.024658 | -0.024658
20.5283 | -0.0070429 | -0.0070429
20.9231 | 0.016075 | 0.016075
21.3178 | 0.014346 | 0.014346
21.7126 | 0.0032071 | 0.0032071
22.1074 | -0.011423 | -0.011423
22.5022 | -0.003513 | -0.003513
22.8969 | -0.00065543 | -0.00065543
23.2917 | -0.00019651 | -0.00019651
23.6865 | 0.0042639 | 0.0042639
24.0813 | 0.0079027 | 0.0079027
24.476 | 0.020265 | 0.020265
24.8708 | 0.023243 | 0.023243
25.2656 | 0.029832 | 0.029832
25.6604 | 0.02414 | 0.02414
26.0551 | 0.022191 | 0.022191
26.4499 | 0.027415 | 0.027415
26.8447 | 0.027358 | 0.027358
27.2395 | 0.022328 | 0.022328
27.6342 | 0.018416 | 0.018416
28.029 | 0.028199 | 0.028199
28.4238 | 0.032997 | 0.032997
28.8185 | 0.010541 | 0.010541
29.2133 | -0.0050181 | -0.0050181
29.6081 | -0.0088646 | -0.0088646
30.0029 | -0.003031 | -0.003031
30.3976 | -0.0068665 | -0.0068665
30.7924 | -0.0059718 | -0.0059718
31.1872 | 0.0010911 | 0.0010911
31.582 | 0.0069223 | 0.0069223
31.9767 | 0.010682 | 0.010682
32.3715 | 0.0071358 | 0.0071358
32.7663 | -0.002697 | -0.002697
33.1611 | -0.018943 | -0.018943
33.5558 | -0.028602 | -0.028602
33.9506 | -0.043676 | -0.043676
34.3454 | -0.04976 | -0.04976
34.7402 | -0.053515 | -0.053515
35.1349 | -0.035603 | -0.035603
35.5297 | -0.021983 | -0.021983
35.9245 | -0.013069 | -0.013069
36.3193 | -0.012594 | -0.012594
36.714 | -0.0062707 | -0.0062707
37.1088 | -0.0035254 | -0.0035254
37.5036 | -0.0096022 | -0.0096022
37.8984 | -0.0072182 | -0.0072182
38.2931 | -0.00060937 | -0.00060937
38.6879 | 0.012459 | 0.012459
39.0827 | 0.0087997 | 0.0087997
39.4775 | -0.027769 | -0.027769
39.8722 | -0.063962 | -0.063962
40.267 | -0.053556 | -0.053556
40.6618 | -0.013269 | -0.013269
41.0566 | 0.028815 | 0.028815
41.4513 | 0.039812 | 0.039812
41.8461 | 0.023195 | 0.023195
42.2409 | 0.0071573 | 0.0071573
42.6357 | 0.0043227 | 0.0043227
43.0304 | -0.0049864 | -0.0049864
43.4252 | -0.0092175 | -0.0092175
43.82 | -0.0079846 | -0.0079846
44.2148 | 0.016938 | 0.016938
44.6095 | 0.059123 | 0.059123
45.0043 | 0.068263 | 0.068263
45.3991 | 0.025681 | 0.025681
45.7939 | -0.033887 | -0.033887
46.1886 | -0.047587 | -0.047587
46.5834 | -0.030347 | -0.030347
46.9782 | -0.013448 | -0.013448
47.373 | -0.010748 | -0.010748
47.7677 | -0.020642 | -0.020642
48.1625 | -0.035206 | -0.035206
48.5573 | -0.022837 | -0.022837
48.9521 | 0.0043094 | 0.0043094
49.3468 | 0.018242 | 0.018242
49.7416 | 0.020908 | 0.020908
50.1364 | 0.018243 | 0.018243
50.5312 | 0.01253 | 0.01253
50.9259 | -0.0045509 | -0.0045509
51.3207 | -0.0047707 | -0.0047707
51.7155 | 0.014835 | 0.014835
52.1103 | 0.016992 | 0.016992
52.505 | 0.0081942 | 0.0081942
52.8998 | 0.0021566 | 0.0021566
53.2946 | 0.002602 | 0.002602
53.6894 | 0.0060212 | 0.0060212
54.0841 | -0.0080316 | -0.0080316
54.4789 | -0.031149 | -0.031149
54.8737 | -0.053291 | -0.053291
55.2685 | -0.06435 | -0.06435
55.6632 | -0.054765 | -0.054765
56.058 | -0.037071 | -0.037071
56.4528 | -0.016968 | -0.016968
56.8475 | 0.0038685 | 0.0038685
57.2423 | 0.018324 | 0.018324
57.6371 | 0.0091967 | 0.0091967
58.0319 | 0.01386 | 0.01386
58.4266 | 0.04747 | 0.04747
58.8214 | 0.076097 | 0.076097
59.2162 | 0.06278 | 0.06278
59.611 | 0.029162 | 0.029162
60.0057 | 0.016059 | 0.016059
60.4005 | 0.010411 | 0.010411
60.7953 | 0.0038812 | 0.0038812
61.1901 | -0.0034907 | -0.0034907
61.5848 | -0.01753 | -0.01753
61.9796 | -0.036326 | -0.036326
62.3744 | -0.044923 | -0.044923
62.7692 | -0.043318 | -0.043318
63.1639 | -0.040054 | -0.040054
63.5587 | -0.03605 | -0.03605
63.9535 | -0.031871 | -0.031871
64.3483 | -0.025386 | -0.025386
64.743 | -0.013407 | -0.013407
65.1378 | -0.012386 | -0.012386
65.5326 | -0.020924 | -0.020924
65.9274 | -0.020237 | -0.020237
66.3221 | -0.013595 | -0.013595
66.7169 | -0.0082256 | -0.0082256
67.1117 | 0.0030744 | 0.0030744
67.5065 | 0.021934 | 0.021934
67.9012 | 0.026827 | 0.026827
68.296 | 0.0010441 | 0.0010441
68.6908 | -0.03092 | -0.03092
69.0856 | -0.042968 | -0.042968
69.4803 | -0.039501 | -0.039501
69.8751 | -0.024752 | -0.024752
70.2699 | -0.011954 | -0.011954
70.6647 | 0.00012942 | 0.00012942
71.0594 | 0.010548 | 0.010548
71.4542 | 0.025478 | 0.025478
71.849 | 0.01933 | 0.01933
72.2438 | -0.0043032 | -0.0043032
72.6385 | -0.035575 | -0.035575
73.0333 | -0.056017 | -0.056017
73.4281 | -0.048978 | -0.048978
73.8229 | -0.011037 | -0.011037
74.2176 | 0.019114 | 0.019114
74.6124 | 0.026685 | 0.026685
75.0072 | 0.037417 | 0.037417
75.402 | 0.048211 | 0.048211
75.7967 | 0.026571 | 0.026571
76.1915 | 0.031253 | 0.031253
76.5863 | 0.13519 | 0.13519
76.9811 | 0.15929
77.3758 | 0.19958
77.7706 | 0.24394
78.1654 | 0.28433
78.5602 | 0.33744
78.9549 | 0.39136
79.3497 | 0.42007
79.7445 | 0.42245
80.1393 | 0.41926
80.534 | 0.42097
80.9288 | 0.41064
81.3236 | 0.39339
81.7184 | 0.37435
82.1131 | 0.37068
82.5079 | 0.36947
82.9027 | 0.37624
83.2975 | 0.39224
83.6922 | 0.41086
84.087 | 0.4287
84.4818 | 0.4465
84.8766 | 0.46404
85.2713 | 0.45376
85.6661 | 0.42242
86.0609 | 0.40013
86.4556 | 0.40586
86.8504 | 0.40797
87.2452 | 0.39318
87.64 | 0.3889
88.0347 | 0.40762
88.4295 | 0.44089
88.8243 | 0.45347 |  | ave
89.2191 | 0.45048 |  | 0.41718
89.6138 | 0.43597 |  | stdev
90.0086 | 0.42559 | 0.42559 | 0.010845
90.4034 | 0.41825 | 0.41825
90.7982 | 0.41264 | 0.41264
91.1929 | 0.41488 | 0.41488
91.5877 | 0.41123 | 0.41123
91.9825 | 0.41672 | 0.41672
92.3773 | 0.42715 | 0.42715
92.772 | 0.4304 | 0.4304
93.1668 | 0.43321 | 0.43321
93.5616 | 0.43255 | 0.43255
93.9564 | 0.43332 | 0.43332
94.3511 | 0.44039 | 0.44039
94.7459 | 0.43722 | 0.43722
95.1407 | 0.42871 | 0.42871
95.5355 | 0.417 | 0.417
95.9302 | 0.41726 | 0.41726
96.325 | 0.41607 | 0.41607
96.7198 | 0.41907 | 0.41907
97.1146 | 0.42743 | 0.42743
97.5093 | 0.43405 | 0.43405
97.9041 | 0.42189 | 0.42189
98.2989 | 0.40882 | 0.40882
98.6937 | 0.41285 | 0.41285
99.0884 | 0.416 | 0.416
99.4832 | 0.40516 | 0.40516
99.878 | 0.39583 | 0.39583
100.273 | 0.40131 | 0.40131
100.668 | 0.40782 | 0.40782
101.062 | 0.4077 | 0.4077
101.457 | 0.41277 | 0.41277
101.852 | 0.44401
102.247 | 0.46371
102.641 | 0.44227
103.036 | 0.40879 | 0.40879
103.431 | 0.40061 | 0.40061
103.826 | 0.4168 | 0.4168
104.221 | 0.42374 | 0.42374
104.615 | 0.41144 | 0.41144
105.01 | 0.40334 | 0.40334
105.405 | 0.40704 | 0.40704
105.8 | 0.41662 | 0.41662
106.194 | 0.42315 | 0.42315
106.589 | 0.42377 | 0.42377
106.984 | 0.42433 | 0.42433
107.379 | 0.42855 | 0.42855
107.773 | 0.42198 | 0.42198
108.168 | 0.40614 | 0.40614
108.563 | 0.40055 | 0.40055
108.958 | 0.40061 | 0.40061
109.353 | 0.40946 | 0.40946
109.747 | 0.4143 | 0.4143
110.142 | 0.41475
110.537 | 0.42853
110.932 | 0.46318
111.326 | 0.47954
111.721 | 0.46001
112.116 | 0.43151
112.511 | 0.4086
112.906 | 0.3873
113.3 | 0.37333
113.695 | 0.38279
114.09 | 0.39698
114.485 | 0.41979
114.879 | 0.44908
115.274 | 0.48568
115.669 | 0.51436
116.064 | 0.50687
116.459 | 0.47402
116.853 | 0.44477
117.248 | 0.43629
117.643 | 0.43755
118.038 | 0.43692
118.432 | 0.42797
118.827 | 0.41558
119.222 | 0.40492
119.617 | 0.40236
120.011 | 0.40607
120.406 | 0.41702
120.801 | 0.43368
121.196 | 0.44278
121.591 | 0.44719
121.985 | 0.43859
122.38 | 0.42954
122.775 | 0.42061
123.17 | 0.41639
123.564 | 0.42272
123.959 | 0.4365
124.354 | 0.46207
124.749 | 0.52306
125.144 | 0.59131
125.538 | 0.61076
125.933 | 0.62433
126.328 | 0.62637
126.723 | 0.70375
127.117 | 0.74087
127.512 | 0.78465
127.907 | 0.79666
128.302 | 0.79778
128.697 | 0.80173
129.091 | 0.81397
129.486 | 0.82843
129.881 | 0.83846
130.276 | 0.84894
130.67 | 0.86386
131.065 | 0.88009
131.46 | 0.89735
131.855 | 0.90141
132.25 | 0.90671
132.644 | 0.91338
133.039 | 0.92634
133.434 | 0.93112
133.829 | 0.91426
134.223 | 0.88738
134.618 | 0.87746
135.013 | 0.88585
135.408 | 0.89375
135.802 | 0.89374
136.197 | 0.89812
136.592 | 0.90536
136.987 | 0.91566
137.382 | 0.92728
137.776 | 0.92768
138.171 | 0.91375
138.566 | 0.90161
138.961 | 0.90019
139.355 | 0.90242
139.75 | 0.89732
140.145 | 0.88136
140.54 | 0.87113
140.935 | 0.87568
141.329 | 0.91173
141.724 | 0.96815
142.119 | 0.98926
142.514 | 0.95904 |  | ave
142.908 | 0.91479 | 0.91479 | 0.89587
143.303 | 0.8967 | 0.8967 | stdev
143.698 | 0.89305 | 0.89305 | 0.010294
144.093 | 0.89082 | 0.89082
144.488 | 0.88883 | 0.88883
144.882 | 0.89257 | 0.89257
145.277 | 0.89553 | 0.89553
145.672 | 0.9012 | 0.9012
146.067 | 0.9047 | 0.9047
146.461 | 0.90327 | 0.90327
146.856 | 0.89261 | 0.89261
147.251 | 0.88506 | 0.88506
147.646 | 0.89275 | 0.89275
148.04 | 0.90055 | 0.90055
148.435 | 0.90005 | 0.90005
148.83 | 0.89158 | 0.89158
149.225 | 0.88523 | 0.88523
149.62 | 0.88651 | 0.88651
150.014 | 0.89049 | 0.89049
150.409 | 0.88841 | 0.88841
150.804 | 0.88133 | 0.88133
151.199 | 0.87871 | 0.87871
151.593 | 0.88429 | 0.88429
151.988 | 0.89625 | 0.89625
152.383 | 0.91232 | 0.91232
152.778 | 0.92975
153.173 | 0.93967
153.567 | 0.94471
153.962 | 0.93618
154.357 | 0.92143 | 0.92143
154.752 | 0.90923 | 0.90923
155.146 | 0.90541 | 0.90541
155.541 | 0.90272 | 0.90272
155.936 | 0.89345 | 0.89345
156.331 | 0.88109 | 0.88109
156.726 | 0.86317
157.12 | 0.86158
157.515 | 0.87457 | 0.87457
157.91 | 0.8882 | 0.8882
158.305 | 0.9064 | 0.9064
158.699 | 0.93543
159.094 | 0.95739
159.489 | 0.94804
159.884 | 0.92955
160.279 | 0.91002 | 0.91002
160.673 | 0.89919 | 0.89919
161.068 | 0.89266 | 0.89266
161.463 | 0.89862 | 0.89862
161.858 | 0.90139 | 0.90139
162.252 | 0.90299 | 0.90299
162.647 | 0.90436
163.042 | 0.9018
163.437 | 0.88972
163.831 | 0.88327
164.226 | 0.88105
164.621 | 0.87946
165.016 | 0.88376
165.411 | 0.89489
165.805 | 0.91138
166.2 | 0.92188
166.595 | 0.92273
166.99 | 0.91694
167.384 | 0.91284
167.779 | 0.92255
168.174 | 0.9377
168.569 | 0.93726
168.964 | 0.91762
169.358 | 0.9062
169.753 | 0.91244
170.148 | 0.92087
170.543 | 0.92263
170.937 | 0.92548
171.332 | 0.93249
171.727 | 0.93267
172.122 | 0.91885
172.517 | 0.89572
172.911 | 0.87914
173.306 | 0.86674
173.701 | 0.84086
174.096 | 0.81405
174.49 | 0.79738
174.885 | 0.80715
175.28 | 0.81271
175.675 | 0.72065
176.069 | 0.73263
176.464 | 0.81998
176.859 | 0.69623
177.254 | 0.5539
177.649 | 0.54367
178.043 | 0.55763
178.438 | 0.48287 | 0.48287
178.833 | 0.53637 | 0.53637
179.228 | 0.46203 | 0.46203
179.622 | 0.25283 | 0.25283
180.017 | 0.16538 | 0.16538
180.412 | 0.11967 | 0.11967
180.807 | 0.081607 | 0.081607
181.202 | 0.027702 | 0.027702
181.596 | -0.022594 | -0.022594
181.991 | -0.051936 | -0.051936
182.386 | -0.050967 | -0.050967
182.781 | -0.035212 | -0.035212
183.175 | -0.030824 | -0.030824
183.57 | -0.039046 | -0.039046
183.965 | -0.032174 | -0.032174
184.36 | -0.010809 | -0.010809
184.755 | 0.01304 | 0.01304
185.149 | 0.029382 | 0.029382
185.544 | 0.026285 | 0.026285
185.939 | 0.014236 | 0.014236
186.334 | 0.01828 | 0.01828
186.728 | 0.029662 | 0.029662
187.123 | 0.03509 | 0.03509
187.518 | 0.025661 | 0.025661
187.913 | 0.0025936 | 0.0025936
188.308 | -0.026469 | -0.026469
188.702 | -0.039172 | -0.039172
189.097 | -0.028841 | -0.028841
189.492 | -0.010859 | -0.010859
189.887 | 0.014867 | 0.014867
190.281 | 0.034068 | 0.034068
190.676 | 0.028246 | 0.028246
191.071 | -0.0055991 | -0.0055991
191.466 | -0.036116 | -0.036116
191.86 | -0.039089 | -0.039089
192.255 | -0.036792 | -0.036792
192.65 | -0.054667 | -0.054667
193.045 | -0.078757 | -0.078757
193.44 | -0.075232 | -0.075232
193.834 | -0.062587 | -0.062587
194.229 | -0.063107 | -0.063107
194.624 | -0.073419 | -0.073419
195.019 | -0.066143 | -0.066143
195.413 | -0.050182 | -0.050182
195.808 | -0.032259 | -0.032259
196.203 | -0.027054 | -0.027054
196.598 | -0.023032 | -0.023032
196.993 | -0.024272 | -0.024272
197.387 | -0.032741 | -0.032741
197.782 | -0.062372 | -0.062372
198.177 | -0.093103 | -0.093103
198.572 | -0.10773 | -0.10773
198.966 | -0.075113 | -0.075113
199.361 | -0.018252 | -0.018252
199.756 | 0.023021 | 0.023021
200.151 | 0.035381 | 0.035381
200.546 | 0.030556 | 0.030556
200.94 | 0.022217 | 0.022217
201.335 | 0.027238 | 0.027238
201.73 | 0.051798 | 0.051798
202.125 | 0.05462 | 0.05462
202.519 | 0.021225 | 0.021225
202.914 | -0.0097821 | -0.0097821
203.309 | -0.019588 | -0.019588
203.704 | -0.0085652 | -0.0085652
204.098 | 0.00062904 | 0.00062904
204.493 | 0.0023026 | 0.0023026
204.888 | -0.0089207 | -0.0089207
205.283 | -0.028118 | -0.028118
205.678 | -0.034931 | -0.034931
206.072 | -0.023479 | -0.023479
206.467 | 0.0032189 | 0.0032189
206.862 | 0.019918 | 0.019918
207.257 | 0.0087681 | 0.0087681
207.651 | -0.01633 | -0.01633
208.046 | -0.029165 | -0.029165
208.441 | -0.017111 | -0.017111
208.836 | 0.017332 | 0.017332
209.231 | 0.037195 | 0.037195
209.625 | 0.036184 | 0.036184
210.02 | 0.027739 | 0.027739
210.415 | 0.021108 | 0.021108
210.81 | 0.021453 | 0.021453
211.204 | 0.026845 | 0.026845
211.599 | 0.021968 | 0.021968
211.994 | 0.0080763 | 0.0080763
212.389 | -0.017491 | -0.017491
212.784 | -0.039503 | -0.039503
213.178 | -0.052699 | -0.052699
213.573 | -0.058484 | -0.058484
213.968 | -0.053921 | -0.053921
214.363 | -0.035961 | -0.035961
214.757 | -0.011182 | -0.011182
215.152 | 0.0038753 | 0.0038753
215.547 | 0.014045 | 0.014045
215.942 | 0.01914 | 0.01914
216.337 | 0.026479 | 0.026479
216.731 | 0.027632 | 0.027632
217.126 | 0.014847 | 0.014847
217.521 | -0.017393 | -0.017393
217.916 | -0.029829 | -0.029829
218.31 | -0.0069419 | -0.0069419
218.705 | 0.027815 | 0.027815
219.1 | 0.038403 | 0.038403
219.495 | 0.027694 | 0.027694
219.889 | 0.0075366 | 0.0075366
220.284 | 0.00021353 | 0.00021353
220.679 | 0.010386 | 0.010386
221.074 | 0.017153 | 0.017153
221.469 | 0.013779 | 0.013779
221.863 | 0.0038668 | 0.0038668
222.258 | 0.0024055 | 0.0024055
222.653 | 0.0049616 | 0.0049616
223.048 | 0.0089777 | 0.0089777
223.442 | 0.0079034 | 0.0079034
223.837 | 0.007426 | 0.007426
224.232 | 0.0038383 | 0.0038383
224.627 | 0.0022513 | 0.0022513
225.022 | 0.0038675 | 0.0038675
225.416 | 0.00093526 | 0.00093526
225.811 | -0.0090465 | -0.0090465
226.206 | -0.022886 | -0.022886
226.601 | -0.026382 | -0.026382
226.995 | -0.017954 | -0.017954
227.39 | -0.0056056 | -0.0056056
227.785 | -0.0035061 | -0.0035061
228.18 | -0.00078033 | -0.00078033
228.575 | 0.00509 | 0.00509
228.969 | 0.018231 | 0.018231
229.364 | 0.026369 | 0.026369
229.759 | 0.019536 | 0.019536
230.154 | -0.00027043 | -0.00027043
230.548 | -0.025888 | -0.025888
230.943 | -0.036793 | -0.036793
231.338 | -0.028657 | -0.028657
231.733 | -0.011797 | -0.011797
232.127 | 0.00065695 | 0.00065695
232.522 | 0.0040138 | 0.0040138
232.917 | 0.0036219 | 0.0036219
233.312 | -0.00073731 | -0.00073731
233.707 | -0.0020301 | -0.0020301
234.101 | 0.0050133 | 0.0050133
234.496 | 0.013933 | 0.013933
234.891 | 0.020982 | 0.020982
235.286 | 0.025388 | 0.025388
235.68 | 0.04364 | 0.04364
236.075 | 0.054632 | 0.054632
236.47 | 0.033351 | 0.033351
236.865 | -0.0052716 | -0.0052716
237.26 | -0.036859 | -0.036859
237.654 | -0.042658 | -0.042658
238.049 | -0.029996 | -0.029996
238.444 | -0.016258 | -0.016258
238.839 | -0.00040749 | -0.00040749
239.233 | 0.0089162 | 0.0089162
239.628 | 0.0038575 | 0.0038575
240.023 | -0.0077258 | -0.0077258
240.418 | -0.0035755 | -0.0035755
240.813 | 0.018733 | 0.018733
241.207 | 0.047152 | 0.047152
241.602 | 0.063807 | 0.063807
241.997 | 0.059544 | 0.059544
242.392 | 0.034897 | 0.034897
242.786 | 0.013617 | 0.013617
243.181 | 0.0040351 | 0.0040351
243.576 | 0.0053815 | 0.0053815
243.971 | 0.020505 | 0.020505
244.366 | 0.027659 | 0.027659
244.76 | 0.026302 | 0.026302
245.155 | 0.015305 | 0.015305
245.55 | 0.0067959 | 0.0067959
245.945 | -0.0031981 | -0.0031981
246.339 | -0.0050732 | -0.0050732
246.734 | 0.0054578 | 0.0054578
247.129 | 0.01583 | 0.01583
247.524 | 0.015387 | 0.015387
247.918 | 0.010154 | 0.010154
248.313 | 0.0080771 | 0.0080771
248.708 | 0.0048629 | 0.0048629
249.103 | 0.00084676 | 0.00084676
249.498 | -0.00101 | -0.00101
249.892 | 0.0066559 | 0.0066559
250.287 | 0.0093256 | 0.0093256
250.682 | 0.011449 | 0.011449
251.077 | 0.016226 | 0.016226
251.471 | 0.018365 | 0.018365
251.866 | 0.012372 | 0.012372
252.261 | 0.0057473 | 0.0057473