## 108-L.P2.0deg.L1000.1meas.Ins2.
x-uncal | x-uncal | z-uncal | z-uncal |  | RM 8097 - IN-PLANE LENGTH (Trace a', a, e, or e') |  | 2012-04-30
Suggested steps to follow to obtain in-plane length data from Trace a', a, e, or e':
mm | um | um | um | 1 | Start with uncalibrated x data (in mm) in Column A and uncalibrated z data
0 | 0 | 1.0998 | 1.0998 |  |  | (in um) in Column B
0.0019625 | 1.9625 | 1.3803 | 1.3803 | 2 | Insert a new Column B as data from Column A but in micrometers.
0.0039249 | 3.9249 | 2.7588 | 2.7588 | 3 | Copy the new Column C data to Column D
0.0058874 | 5.8874 | 2.9446 | 2.9446 | 4 | Plot the data in Columns B and C
0.0078499 | 7.8498 | 2.7007 | 2.7007 | 5 | Plot the data in Columns B and D and move it near one of the uncalibrated
0.0098123 | 9.8123 | 0.92915 | 0.92915 |  |  | x values to be obtained
0.011775 | 11.7748 | -0.58281 | -0.58281 | 6 | Highlight the appropriate x value and record the uncertainty, n, associated
0.013737 | 13.7372 | -0.58866 | -0.58866 |  |  | with this x value
0.0157 | 15.6997 | -0.57916 | -0.57916 | 7 | Once again, plot the data in Columns B and D but move it near the other
0.017662 | 17.6622 | -0.58487 | -0.58487 |  |  | uncalibrated x value to be obtained
0.019625 | 19.6246 | -0.59085 | -0.59085 | 8 | Highlight the appropriate x-value and record the uncertainty, n, associated
0.021587 | 21.5871 | -0.59721 | -0.59721 |  |  | with this x value
0.02355 | 23.5496 | -0.59402 | -0.59402 | 9 | The above values for x and n should be used in Data Sheet L.0 for the given
0.025512 | 25.512 | -0.58951 | -0.58951 |  |  | data trace. The associated uncalibrated y value for Traces a' and e'
0.027474 | 27.4745 | -0.59164 | -0.59164 |  |  | is typically obtained during the data session and optionally included
0.029437 | 29.437 | -0.58468 | -0.58468 |  |  | as part of the file name.
0.031399 | 31.3994 | -0.58883 | -0.58883
0.033362 | 33.3619 | -0.60363 | -0.60363
0.035324 | 35.3243 | -0.21981 | -0.21981
0.037287 | 37.2868 | 0.0034262 | 0.0034262
0.039249 | 39.2493 | 0.019829 | 0.019829
0.041212 | 41.2117 | 0.01245 | 0.01245
0.043174 | 43.1742 | 0.012908 | 0.012908
0.045137 | 45.1367 | 0.005974 | 0.005974
0.047099 | 47.0991 | 0.013195 | 0.013195
0.049062 | 49.0616 | 0.014608 | 0.014608
0.051024 | 51.024 | 0.018291 | 0.018291
0.052986 | 52.9865 | 0.00808 | 0.00808
0.054949 | 54.949 | 0.013416 | 0.013416
0.056911 | 56.9114 | 0.011853 | 0.011853
0.058874 | 58.8739 | 0.0028308 | 0.0028308
0.060836 | 60.8364 | 0.0027567 | 0.0027567
0.062799 | 62.7988 | 0.0044428 | 0.0044428
0.064761 | 64.7613 | 0.0041124 | 0.0041124
0.066724 | 66.7238 | 0.0020632 | 0.0020632
0.068686 | 68.6862 | 0.011059 | 0.011059
0.070649 | 70.6487 | 0.014308 | 0.014308
0.072611 | 72.6111 | 0.0022608 | 0.0022608
0.074574 | 74.5736 | 0.0046769 | 0.0046769
0.076536 | 76.5361 | 0.017596 | 0.017596
0.078498 | 78.4985 | 0.053003 | 0.053003
0.080461 | 80.461 | 0.42907 | 0.42907
0.082423 | 82.4235 | 2.7582 | 2.7582
0.084386 | 84.3859 | 3.428 | 3.428
0.086348 | 86.3484 | 3.593 | 3.593
0.088311 | 88.3109 | 2.4395 | 2.4395
0.090273 | 90.2733 | 0.18046 | 0.18046
0.092236 | 92.2358 | 0.19206 | 0.19206
0.094198 | 94.1982 | 0.19519 | 0.19519
0.096161 | 96.1607 | 0.19797 | 0.19797
0.098123 | 98.1232 | 0.20192 | 0.20192
0.10009 | 100.086 | 0.20779 | 0.20779
0.10205 | 102.048 | 0.21363 | 0.21363
0.10401 | 104.011 | 0.21755 | 0.21755
0.10597 | 105.973 | 0.21889 | 0.21889
0.10794 | 107.935 | 0.2187 | 0.2187
0.1099 | 109.898 | 0.21716 | 0.21716
0.11186 | 111.86 | 0.22117 | 0.22117
0.11382 | 113.823 | 0.2188 | 0.2188
0.11578 | 115.785 | 0.22015 | 0.22015
0.11775 | 117.748 | 0.22158 | 0.22158
0.11971 | 119.71 | 0.21856 | 0.21856
0.12167 | 121.673 | 0.21219 | 0.21219
0.12363 | 123.635 | 0.2036 | 0.2036
0.1256 | 125.598 | 0.20477 | 0.20477
0.12756 | 127.56 | 0.20663 | 0.20663
0.12952 | 129.523 | 0.2117 | 0.2117
0.13148 | 131.485 | 0.20371 | 0.20371
0.13345 | 133.448 | 0.19595 | 0.19595
0.13541 | 135.41 | 0.25194 | 0.25194
0.13737 | 137.372 | 2.6831 | 2.6831
0.13933 | 139.335 | 3.061 | 3.061 | n=1
0.1413 | 141.297 | 1.6438 | 1.6438
0.14326 | 143.26 | 0.11022 | 0.11022
0.14522 | 145.222 | 0.022869 | 0.022869
0.14719 | 147.185 | 0.008732 | 0.008732
0.14915 | 149.147 | 0.012755 | 0.012755
0.15111 | 151.11 | 0.021492 | 0.021492
0.15307 | 153.072 | 0.011925 | 0.011925
0.15504 | 155.035 | 0.0064141 | 0.0064141
0.157 | 156.997 | 0.015734 | 0.015734
0.15896 | 158.96 | 0.014274 | 0.014274
0.16092 | 160.922 | 0.029847 | 0.029847
0.16288 | 162.884 | 0.035036 | 0.035036
0.16485 | 164.847 | 0.024659 | 0.024659
0.16681 | 166.809 | -0.0077903 | -0.0077903
0.16877 | 168.772 | -0.006026 | -0.006026
0.17073 | 170.734 | -0.011198 | -0.011198
0.1727 | 172.697 | -0.0018505 | -0.0018505
0.17466 | 174.659 | -0.0097982 | -0.0097982
0.17662 | 176.622 | -0.0097575 | -0.0097575
0.17858 | 178.584 | 0.00562 | 0.00562
0.18055 | 180.547 | 0.016752 | 0.016752
0.18251 | 182.509 | 0.018458 | 0.018458
0.18447 | 184.472 | 0.0032664 | 0.0032664
0.18643 | 186.434 | 0.0091493 | 0.0091493
0.1884 | 188.396 | 0.005833 | 0.005833
0.19036 | 190.359 | 0.0028976 | 0.0028976
0.19232 | 192.321 | -0.010944 | -0.010944
0.19428 | 194.284 | -0.015237 | -0.015237
0.19625 | 196.246 | -0.012479 | -0.012479
0.19821 | 198.209 | -0.0026015 | -0.0026015
0.20017 | 200.171 | 0.0047732 | 0.0047732
0.20213 | 202.134 | -0.0054377 | -0.0054377
0.2041 | 204.096 | -0.001752 | -0.001752
0.20606 | 206.059 | 0.0054615 | 0.0054615
0.20802 | 208.021 | 0.0031901 | 0.0031901
0.20998 | 209.984 | 0.019327 | 0.019327
0.21195 | 211.946 | 0.014124 | 0.014124
0.21391 | 213.909 | 0.015749 | 0.015749
0.21587 | 215.871 | 0.0042609 | 0.0042609
0.21783 | 217.833 | 0.0072312 | 0.0072312
0.2198 | 219.796 | 0.0085731 | 0.0085731
0.22176 | 221.758 | 0.025926 | 0.025926
0.22372 | 223.721 | 0.022605 | 0.022605
0.22568 | 225.683 | 0.019266 | 0.019266
0.22765 | 227.646 | 0.023184 | 0.023184
0.22961 | 229.608 | 0.017055 | 0.017055
0.23157 | 231.571 | 0.013353 | 0.013353
0.23353 | 233.533 | 0.017959 | 0.017959
0.2355 | 235.496 | 0.010793 | 0.010793
0.23746 | 237.458 | -0.0045328 | -0.0045328
0.23942 | 239.421 | -0.010867 | -0.010867
0.24138 | 241.383 | 0.0033562 | 0.0033562
0.24335 | 243.345 | 0.02335 | 0.02335
0.24531 | 245.308 | 0.016824 | 0.016824
0.24727 | 247.27 | -0.00047944 | -0.00047944
0.24923 | 249.233 | -0.013793 | -0.013793
0.2512 | 251.195 | -0.02447 | -0.02447
0.25316 | 253.158 | -0.013151 | -0.013151
0.25512 | 255.12 | -0.017104 | -0.017104
0.25708 | 257.083 | -0.010745 | -0.010745
0.25905 | 259.045 | -0.012272 | -0.012272
0.26101 | 261.008 | -0.010771 | -0.010771
0.26297 | 262.97 | -0.014256 | -0.014256
0.26493 | 264.933 | -0.015971 | -0.015971
0.26689 | 266.895 | -0.0057664 | -0.0057664
0.26886 | 268.857 | -0.0040851 | -0.0040851
0.27082 | 270.82 | 0.0096201 | 0.0096201
0.27278 | 272.782 | 0.0015137 | 0.0015137
0.27475 | 274.745 | 0.0030876 | 0.0030876
0.27671 | 276.707 | -0.0051725 | -0.0051725
0.27867 | 278.67 | 0.010823 | 0.010823
0.28063 | 280.632 | 0.016232 | 0.016232
0.28259 | 282.595 | 0.0094172 | 0.0094172
0.28456 | 284.557 | 0.0081809 | 0.0081809
0.28652 | 286.52 | 0.0073793 | 0.0073793
0.28848 | 288.482 | 0.00090628 | 0.00090628
0.29045 | 290.445 | 0.021601 | 0.021601
0.29241 | 292.407 | 0.025995 | 0.025995
0.29437 | 294.37 | 0.0062406 | 0.0062406
0.29633 | 296.332 | -0.015491 | -0.015491
0.29829 | 298.294 | -0.02319 | -0.02319
0.30026 | 300.257 | -0.010378 | -0.010378
0.30222 | 302.219 | 0.0018329 | 0.0018329
0.30418 | 304.182 | 0.011344 | 0.011344
0.30614 | 306.144 | 0.016484 | 0.016484
0.30811 | 308.107 | 0.025102 | 0.025102
0.31007 | 310.069 | 0.020096 | 0.020096
0.31203 | 312.032 | 0.01342 | 0.01342
0.31399 | 313.994 | 0.0049234 | 0.0049234
0.31596 | 315.957 | 0.012432 | 0.012432
0.31792 | 317.919 | 0.013525 | 0.013525
0.31988 | 319.882 | 0.022726 | 0.022726
0.32184 | 321.844 | 0.013392 | 0.013392
0.32381 | 323.806 | -0.0025638 | -0.0025638
0.32577 | 325.769 | -0.00052122 | -0.00052122
0.32773 | 327.731 | 0.0064433 | 0.0064433
0.32969 | 329.694 | -0.0039385 | -0.0039385
0.33166 | 331.656 | -0.0015541 | -0.0015541
0.33362 | 333.619 | 0.0012258 | 0.0012258
0.33558 | 335.581 | 0.0106 | 0.0106
0.33754 | 337.544 | 0.016058 | 0.016058
0.33951 | 339.506 | 0.020386 | 0.020386
0.34147 | 341.469 | 0.0093303 | 0.0093303
0.34343 | 343.431 | 0.010006 | 0.010006
0.34539 | 345.394 | 0.0044653 | 0.0044653
0.34736 | 347.356 | -0.0020199 | -0.0020199
0.34932 | 349.318 | 0.0020441 | 0.0020441
0.35128 | 351.281 | 0.0034666 | 0.0034666
0.35324 | 353.243 | -0.0094151 | -0.0094151
0.35521 | 355.206 | -0.0073383 | -0.0073383
0.35717 | 357.168 | -0.021116 | -0.021116
0.35913 | 359.131 | -0.0116 | -0.0116
0.36109 | 361.093 | 0.0082182 | 0.0082182
0.36306 | 363.056 | 0.006457 | 0.006457
0.36502 | 365.018 | -0.011613 | -0.011613
0.36698 | 366.981 | -0.013489 | -0.013489
0.36894 | 368.943 | -0.0012384 | -0.0012384
0.37091 | 370.906 | 0.010921 | 0.010921
0.37287 | 372.868 | 0.013569 | 0.013569
0.37483 | 374.831 | 0.01674 | 0.01674
0.37679 | 376.793 | 0.017154 | 0.017154
0.37876 | 378.755 | 0.013257 | 0.013257
0.38072 | 380.718 | 0.0054776 | 0.0054776
0.38268 | 382.68 | -0.0048919 | -0.0048919
0.38464 | 384.643 | -0.002134 | -0.002134
0.3866 | 386.605 | -0.0037291 | -0.0037291
0.38857 | 388.568 | 0.011238 | 0.011238
0.39053 | 390.53 | 0.0072189 | 0.0072189
0.39249 | 392.493 | 0.0039319 | 0.0039319
0.39446 | 394.455 | 0.0059818 | 0.0059818
0.39642 | 396.418 | 0.012631 | 0.012631
0.39838 | 398.38 | 0.0070617 | 0.0070617
0.40034 | 400.343 | -0.00081762 | -0.00081762
0.40231 | 402.305 | -0.021304 | -0.021304
0.40427 | 404.267 | -0.001542 | -0.001542
0.40623 | 406.23 | 0.020298 | 0.020298
0.40819 | 408.192 | 0.026388 | 0.026388
0.41015 | 410.155 | 0.015079 | 0.015079
0.41212 | 412.117 | 0.0074658 | 0.0074658
0.41408 | 414.08 | 0.014872 | 0.014872
0.41604 | 416.042 | 0.011802 | 0.011802
0.41801 | 418.005 | 0.0034813 | 0.0034813
0.41997 | 419.967 | -0.0098692 | -0.0098692
0.42193 | 421.93 | -0.0088227 | -0.0088227
0.42389 | 423.892 | -0.0053934 | -0.0053934
0.42585 | 425.855 | 0.0043592 | 0.0043592
0.42782 | 427.817 | 0.014065 | 0.014065
0.42978 | 429.779 | 0.0097456 | 0.0097456
0.43174 | 431.742 | 0.0041417 | 0.0041417
0.4337 | 433.704 | 0.0034109 | 0.0034109
0.43567 | 435.667 | -0.0065509 | -0.0065509
0.43763 | 437.629 | -0.026642 | -0.026642
0.43959 | 439.592 | -0.031311 | -0.031311
0.44155 | 441.554 | -0.016895 | -0.016895
0.44352 | 443.517 | -0.0039396 | -0.0039396
0.44548 | 445.479 | 0.0060034 | 0.0060034
0.44744 | 447.442 | 0.0034195 | 0.0034195
0.4494 | 449.404 | 0.0089411 | 0.0089411
0.45137 | 451.367 | 0.0052074 | 0.0052074
0.45333 | 453.329 | 0.029975 | 0.029975
0.45529 | 455.292 | 0.020672 | 0.020672
0.45725 | 457.254 | 0.0012033 | 0.0012033
0.45922 | 459.216 | -0.012875 | -0.012875
0.46118 | 461.179 | -0.0028023 | -0.0028023
0.46314 | 463.141 | -0.0047514 | -0.0047514
0.4651 | 465.104 | -0.0099183 | -0.0099183
0.46707 | 467.066 | -0.0020969 | -0.0020969
0.46903 | 469.029 | 0.016511 | 0.016511
0.47099 | 470.991 | 0.010626 | 0.010626
0.47295 | 472.954 | -0.00028797 | -0.00028797
0.47492 | 474.916 | -0.0016731 | -0.0016731
0.47688 | 476.879 | 0.0035287 | 0.0035287
0.47884 | 478.841 | -0.0026905 | -0.0026905
0.4808 | 480.804 | 0.0022379 | 0.0022379
0.48277 | 482.766 | 0.0069538 | 0.0069538
0.48473 | 484.728 | 0.0067967 | 0.0067967
0.48669 | 486.691 | 0.0066079 | 0.0066079
0.48865 | 488.653 | 0.006253 | 0.006253
0.49062 | 490.616 | -0.012437 | -0.012437
0.49258 | 492.578 | -0.013844 | -0.013844
0.49454 | 494.541 | -0.00084188 | -0.00084188
0.4965 | 496.503 | 0.0043428 | 0.0043428
0.49847 | 498.466 | -0.0085902 | -0.0085902
0.50043 | 500.428 | -0.0042063 | -0.0042063
0.50239 | 502.391 | -0.01991 | -0.01991
0.50435 | 504.353 | -0.013864 | -0.013864
0.50632 | 506.316 | -0.0078783 | -0.0078783
0.50828 | 508.278 | -0.00019849 | -0.00019849
0.51024 | 510.24 | 0.0014071 | 0.0014071
0.5122 | 512.203 | -0.0028809 | -0.0028809
0.51416 | 514.165 | -0.0062045 | -0.0062045
0.51613 | 516.128 | -0.0099041 | -0.0099041
0.51809 | 518.09 | -0.0093019 | -0.0093019
0.52005 | 520.053 | -0.0032041 | -0.0032041
0.52202 | 522.015 | -0.0049628 | -0.0049628
0.52398 | 523.978 | 0.019292 | 0.019292
0.52594 | 525.94 | 0.016332 | 0.016332
0.5279 | 527.903 | 0.010047 | 0.010047
0.52987 | 529.865 | -0.0027006 | -0.0027006
0.53183 | 531.828 | -0.018121 | -0.018121
0.53379 | 533.79 | -0.022278 | -0.022278
0.53575 | 535.753 | -0.020577 | -0.020577
0.53772 | 537.715 | -0.010988 | -0.010988
0.53968 | 539.677 | 0.0019191 | 0.0019191
0.54164 | 541.64 | -0.0083088 | -0.0083088
0.5436 | 543.602 | -0.0019132 | -0.0019132
0.54556 | 545.565 | -0.0021436 | -0.0021436
0.54753 | 547.527 | -0.0021371 | -0.0021371
0.54949 | 549.49 | -0.0102 | -0.0102
0.55145 | 551.452 | -0.015493 | -0.015493
0.55341 | 553.415 | -0.02412 | -0.02412
0.55538 | 555.377 | -0.012228 | -0.012228
0.55734 | 557.34 | -0.0014017 | -0.0014017
0.5593 | 559.302 | -0.011356 | -0.011356
0.56127 | 561.265 | 0.003809 | 0.003809
0.56323 | 563.227 | 0.00068559 | 0.00068559
0.56519 | 565.189 | 0.0081847 | 0.0081847
0.56715 | 567.152 | 0.010042 | 0.010042
0.56911 | 569.114 | -0.0069977 | -0.0069977
0.57108 | 571.077 | -0.019313 | -0.019313
0.57304 | 573.039 | -0.010061 | -0.010061
0.575 | 575.002 | -0.0082966 | -0.0082966
0.57696 | 576.964 | 0.0096761 | 0.0096761
0.57893 | 578.927 | 0.012148 | 0.012148
0.58089 | 580.889 | 0.0086661 | 0.0086661
0.58285 | 582.852 | 0.0033747 | 0.0033747
0.58481 | 584.814 | 0.010249 | 0.010249
0.58678 | 586.777 | 0.020172 | 0.020172
0.58874 | 588.739 | 0.014297 | 0.014297
0.5907 | 590.701 | 0.0038034 | 0.0038034
0.59266 | 592.664 | -0.00098504 | -0.00098504
0.59463 | 594.626 | 0.00304 | 0.00304
0.59659 | 596.589 | -0.0081572 | -0.0081572
0.59855 | 598.551 | -0.0085975 | -0.0085975
0.60051 | 600.514 | -0.014177 | -0.014177
0.60248 | 602.476 | 0.0043012 | 0.0043012
0.60444 | 604.439 | -0.0059804 | -0.0059804
0.6064 | 606.401 | -0.025649 | -0.025649
0.60836 | 608.364 | -0.03347 | -0.03347
0.61033 | 610.326 | -0.0067106 | -0.0067106
0.61229 | 612.289 | 0.0089868 | 0.0089868
0.61425 | 614.251 | -0.0035946 | -0.0035946
0.61621 | 616.213 | 0.0013142 | 0.0013142
0.61818 | 618.176 | -0.0085231 | -0.0085231
0.62014 | 620.138 | -0.012599 | -0.012599
0.6221 | 622.101 | -0.021686 | -0.021686
0.62406 | 624.063 | -0.031731 | -0.031731
0.62603 | 626.026 | -0.034977 | -0.034977
0.62799 | 627.988 | -0.02582 | -0.02582
0.62995 | 629.951 | -0.030645 | -0.030645
0.63191 | 631.913 | -0.0053651 | -0.0053651
0.63388 | 633.876 | -0.010761 | -0.010761
0.63584 | 635.838 | -0.028975 | -0.028975
0.6378 | 637.801 | -0.016364 | -0.016364
0.63976 | 639.763 | -0.010237 | -0.010237
0.64173 | 641.726 | 0.0096282 | 0.0096282
0.64369 | 643.688 | 0.00032557 | 0.00032557
0.64565 | 645.65 | -0.013369 | -0.013369
0.64761 | 647.613 | -0.012464 | -0.012464
0.64958 | 649.575 | -0.023696 | -0.023696
0.65154 | 651.538 | -0.030591 | -0.030591
0.6535 | 653.5 | -0.010702 | -0.010702
0.65546 | 655.463 | -0.0039252 | -0.0039252
0.65743 | 657.425 | -0.011841 | -0.011841
0.65939 | 659.388 | -0.012943 | -0.012943
0.66135 | 661.35 | -0.022954 | -0.022954
0.66331 | 663.313 | -0.01441 | -0.01441
0.66527 | 665.275 | -0.01777 | -0.01777
0.66724 | 667.238 | -0.021396 | -0.021396
0.6692 | 669.2 | -0.016163 | -0.016163
0.67116 | 671.162 | -0.014989 | -0.014989
0.67312 | 673.125 | -0.0065331 | -0.0065331
0.67509 | 675.087 | -0.00878 | -0.00878
0.67705 | 677.05 | -0.007648 | -0.007648
0.67901 | 679.012 | -0.0075415 | -0.0075415
0.68097 | 680.975 | -0.012728 | -0.012728
0.68294 | 682.937 | -0.011074 | -0.011074
0.6849 | 684.9 | -0.0043165 | -0.0043165
0.68686 | 686.862 | 0.0037319 | 0.0037319
0.68883 | 688.825 | -0.011186 | -0.011186
0.69079 | 690.787 | -0.0025467 | -0.0025467
0.69275 | 692.75 | -0.0051989 | -0.0051989
0.69471 | 694.712 | -0.011958 | -0.011958
0.69667 | 696.674 | -0.011521 | -0.011521
0.69864 | 698.637 | -0.0093421 | -0.0093421
0.7006 | 700.599 | -0.0047873 | -0.0047873
0.70256 | 702.562 | -0.0065826 | -0.0065826
0.70452 | 704.524 | 0.0015367 | 0.0015367
0.70649 | 706.487 | -0.012522 | -0.012522
0.70845 | 708.449 | -0.028126 | -0.028126
0.71041 | 710.412 | -0.014972 | -0.014972
0.71237 | 712.374 | -0.0067016 | -0.0067016
0.71434 | 714.337 | -0.0005111 | -0.0005111
0.7163 | 716.299 | -0.019435 | -0.019435
0.71826 | 718.262 | -0.021397 | -0.021397
0.72022 | 720.224 | -0.022257 | -0.022257
0.72219 | 722.187 | -0.012705 | -0.012705
0.72415 | 724.149 | -0.017398 | -0.017398
0.72611 | 726.111 | -0.015387 | -0.015387
0.72807 | 728.074 | -0.010974 | -0.010974
0.73004 | 730.036 | -0.018956 | -0.018956
0.732 | 731.999 | -0.0037537 | -0.0037537
0.73396 | 733.961 | 0.00051056 | 0.00051056
0.73592 | 735.924 | 0.0091694 | 0.0091694
0.73789 | 737.886 | 3.0322e-05 | 3.0322e-05
0.73985 | 739.849 | -0.0078734 | -0.0078734
0.74181 | 741.811 | -0.008863 | -0.008863
0.74377 | 743.774 | -0.0092154 | -0.0092154
0.74574 | 745.736 | -0.0036377 | -0.0036377
0.7477 | 747.699 | -0.017181 | -0.017181
0.74966 | 749.661 | -0.0083928 | -0.0083928
0.75162 | 751.623 | -0.012315 | -0.012315
0.75359 | 753.586 | -0.011581 | -0.011581
0.75555 | 755.548 | 0.0049396 | 0.0049396
0.75751 | 757.511 | 0.0048435 | 0.0048435
0.75947 | 759.473 | 0.0016419 | 0.0016419
0.76144 | 761.436 | -0.00030716 | -0.00030716
0.7634 | 763.398 | 0.0092599 | 0.0092599
0.76536 | 765.361 | -0.0087439 | -0.0087439
0.76732 | 767.323 | -0.01229 | -0.01229
0.76929 | 769.286 | -0.0073419 | -0.0073419
0.77125 | 771.248 | -0.0029018 | -0.0029018
0.77321 | 773.211 | 0.0023439 | 0.0023439
0.77517 | 775.173 | 0.0092986 | 0.0092986
0.77714 | 777.135 | 0.0026278 | 0.0026278
0.7791 | 779.098 | 0.0027124 | 0.0027124
0.78106 | 781.06 | 0.0022453 | 0.0022453
0.78302 | 783.023 | 0.0081917 | 0.0081917
0.78499 | 784.985 | 0.029707 | 0.029707
0.78695 | 786.948 | 0.02766 | 0.02766
0.78891 | 788.91 | 0.01546 | 0.01546
0.79087 | 790.873 | 0.012529 | 0.012529
0.79283 | 792.835 | 0.0067836 | 0.0067836
0.7948 | 794.798 | -0.026901 | -0.026901
0.79676 | 796.76 | -0.031543 | -0.031543
0.79872 | 798.723 | -0.046088 | -0.046088
0.80068 | 800.685 | -0.034646 | -0.034646
0.80265 | 802.648 | -0.019495 | -0.019495
0.80461 | 804.61 | -0.00045795 | -0.00045795
0.80657 | 806.572 | 0.0072511 | 0.0072511
0.80854 | 808.535 | 0.018439 | 0.018439
0.8105 | 810.497 | 0.012215 | 0.012215
0.81246 | 812.46 | 0.0016431 | 0.0016431
0.81442 | 814.422 | 0.0091203 | 0.0091203
0.81639 | 816.385 | 0.013184 | 0.013184
0.81835 | 818.347 | 0.0083129 | 0.0083129
0.82031 | 820.31 | -0.014176 | -0.014176
0.82227 | 822.272 | -0.026503 | -0.026503
0.82424 | 824.235 | 0.00092504 | 0.00092504
0.8262 | 826.197 | 0.027504 | 0.027504
0.82816 | 828.16 | 0.019024 | 0.019024
0.83012 | 830.122 | 0.0031563 | 0.0031563
0.83208 | 832.084 | -0.0157 | -0.0157
0.83405 | 834.047 | -0.01999 | -0.01999
0.83601 | 836.009 | -0.010462 | -0.010462
0.83797 | 837.972 | -0.0098354 | -0.0098354
0.83993 | 839.934 | 0.0013845 | 0.0013845
0.8419 | 841.897 | 0.018173 | 0.018173
0.84386 | 843.859 | 0.0096103 | 0.0096103
0.84582 | 845.822 | 0.0030176 | 0.0030176
0.84778 | 847.784 | -0.01879 | -0.01879
0.84975 | 849.747 | -0.013981 | -0.013981
0.85171 | 851.709 | 0.00072255 | 0.00072255
0.85367 | 853.672 | 0.011618 | 0.011618
0.85563 | 855.634 | 0.011114 | 0.011114
0.8576 | 857.596 | 0.0029172 | 0.0029172
0.85956 | 859.559 | 0.0056703 | 0.0056703
0.86152 | 861.521 | -0.0017769 | -0.0017769
0.86348 | 863.484 | -0.014124 | -0.014124
0.86545 | 865.446 | -0.020602 | -0.020602
0.86741 | 867.409 | 0.0046927 | 0.0046927
0.86937 | 869.371 | 0.0042109 | 0.0042109
0.87133 | 871.334 | 0.016305 | 0.016305
0.8733 | 873.296 | 0.012923 | 0.012923
0.87526 | 875.259 | -0.0017048 | -0.0017048
0.87722 | 877.221 | -0.0071524 | -0.0071524
0.87918 | 879.184 | 0.012014 | 0.012014
0.88115 | 881.146 | -0.0067953 | -0.0067953
0.88311 | 883.109 | -0.0012834 | -0.0012834
0.88507 | 885.071 | -0.0021022 | -0.0021022
0.88703 | 887.033 | 0.01985 | 0.01985
0.889 | 888.996 | 0.018575 | 0.018575
0.89096 | 890.958 | 0.01406 | 0.01406
0.89292 | 892.921 | 0.0062513 | 0.0062513
0.89488 | 894.883 | -0.0061958 | -0.0061958
0.89685 | 896.846 | 0.0030978 | 0.0030978
0.89881 | 898.808 | 0.0038122 | 0.0038122
0.90077 | 900.771 | -0.002507 | -0.002507
0.90273 | 902.733 | 0.0070185 | 0.0070185
0.9047 | 904.696 | -0.01121 | -0.01121
0.90666 | 906.658 | -0.01143 | -0.01143
0.90862 | 908.621 | -0.012593 | -0.012593
0.91058 | 910.583 | -0.0080679 | -0.0080679
0.91255 | 912.545 | -0.0065918 | -0.0065918
0.91451 | 914.508 | -0.0091634 | -0.0091634
0.91647 | 916.47 | 0.0026863 | 0.0026863
0.91843 | 918.433 | 0.0028857 | 0.0028857
0.92039 | 920.395 | 0.012191 | 0.012191
0.92236 | 922.358 | 0.0078327 | 0.0078327
0.92432 | 924.32 | -0.0050466 | -0.0050466
0.92628 | 926.283 | 0.0034608 | 0.0034608
0.92824 | 928.245 | 0.012461 | 0.012461
0.93021 | 930.208 | 0.0066183 | 0.0066183
0.93217 | 932.17 | 0.0045617 | 0.0045617
0.93413 | 934.133 | 0.0040067 | 0.0040067
0.9361 | 936.095 | 0.012919 | 0.012919
0.93806 | 938.057 | 0.024747 | 0.024747
0.94002 | 940.02 | 0.0078566 | 0.0078566
0.94198 | 941.982 | 0.0062249 | 0.0062249
0.94395 | 943.945 | -0.010287 | -0.010287
0.94591 | 945.907 | -0.0091308 | -0.0091308
0.94787 | 947.87 | 0.00081951 | 0.00081951
0.94983 | 949.832 | -0.0047063 | -0.0047063
0.95179 | 951.795 | -0.01252 | -0.01252
0.95376 | 953.757 | -0.015902 | -0.015902
0.95572 | 955.72 | -0.0021209 | -0.0021209
0.95768 | 957.682 | 0.030056 | 0.030056
0.95964 | 959.645 | 0.041618 | 0.041618
0.96161 | 961.607 | 0.035086 | 0.035086
0.96357 | 963.57 | 0.013244 | 0.013244
0.96553 | 965.532 | 0.00093382 | 0.00093382
0.96749 | 967.494 | 0.0082865 | 0.0082865
0.96946 | 969.457 | 0.011599 | 0.011599
0.97142 | 971.419 | 0.016686 | 0.016686
0.97338 | 973.382 | 0.018628 | 0.018628
0.97534 | 975.344 | 0.012328 | 0.012328
0.97731 | 977.307 | -0.010082 | -0.010082
0.97927 | 979.269 | -0.0084765 | -0.0084765
0.98123 | 981.232 | -0.0012068 | -0.0012068
0.98319 | 983.194 | -0.010566 | -0.010566
0.98516 | 985.157 | -0.0023634 | -0.0023634
0.98712 | 987.119 | -0.0032968 | -0.0032968
0.98908 | 989.082 | 0.0041608 | 0.0041608
0.99104 | 991.044 | 0.011343 | 0.011343
0.99301 | 993.006 | 0.0084462 | 0.0084462
0.99497 | 994.969 | 0.010953 | 0.010953
0.99693 | 996.931 | 0.0089083 | 0.0089083
0.99889 | 998.894 | 0.014584 | 0.014584
1.0009 | 1000.86 | -0.0045187 | -0.0045187
1.0028 | 1002.82 | -0.0063848 | -0.0063848
1.0048 | 1004.78 | 0.0010582 | 0.0010582
1.0067 | 1006.74 | 0.010039 | 0.010039
1.0087 | 1008.71 | -0.0086798 | -0.0086798
1.0107 | 1010.67 | -0.0027774 | -0.0027774
1.0126 | 1012.63 | -0.00062005 | -0.00062005
1.0146 | 1014.59 | 0.018678 | 0.018678
1.0166 | 1016.56 | 0.020743 | 0.020743
1.0185 | 1018.52 | 0.016653 | 0.016653
1.0205 | 1020.48 | 0.011491 | 0.011491
1.0224 | 1022.44 | 0.0073322 | 0.0073322
1.0244 | 1024.41 | 0.0065891 | 0.0065891
1.0264 | 1026.37 | 0.0044545 | 0.0044545
1.0283 | 1028.33 | 0.0097857 | 0.0097857
1.0303 | 1030.29 | 0.018684 | 0.018684
1.0323 | 1032.26 | 0.0046594 | 0.0046594
1.0342 | 1034.22 | 0.0048197 | 0.0048197
1.0362 | 1036.18 | 0.016079 | 0.016079
1.0381 | 1038.14 | 0.022867 | 0.022867
1.0401 | 1040.11 | 0.009175 | 0.009175
1.0421 | 1042.07 | 0.02008 | 0.02008
1.044 | 1044.03 | 0.01119 | 0.01119
1.046 | 1045.99 | -0.005288 | -0.005288
1.048 | 1047.96 | 0.0055266 | 0.0055266
1.0499 | 1049.92 | 0.0069857 | 0.0069857
1.0519 | 1051.88 | 0.00076897 | 0.00076897
1.0538 | 1053.84 | 0.0092886 | 0.0092886
1.0558 | 1055.81 | 0.021216 | 0.021216
1.0578 | 1057.77 | 0.021076 | 0.021076
1.0597 | 1059.73 | 0.0021889 | 0.0021889
1.0617 | 1061.69 | 0.0078032 | 0.0078032
1.0637 | 1063.66 | 0.010783 | 0.010783
1.0656 | 1065.62 | 0.0015247 | 0.0015247
1.0676 | 1067.58 | -0.011992 | -0.011992
1.0695 | 1069.54 | -0.0032769 | -0.0032769
1.0715 | 1071.51 | 0.0022447 | 0.0022447
1.0735 | 1073.47 | 0.0035281 | 0.0035281
1.0754 | 1075.43 | -0.00075503 | -0.00075503
1.0774 | 1077.39 | -0.0071328 | -0.0071328
1.0794 | 1079.35 | -0.0065746 | -0.0065746
1.0813 | 1081.32 | 0.0013591 | 0.0013591
1.0833 | 1083.28 | 0.012481 | 0.012481
1.0852 | 1085.24 | -0.015352 | -0.015352
1.0872 | 1087.2 | -0.02138 | -0.02138
1.0892 | 1089.17 | 0.0042438 | 0.0042438
1.0911 | 1091.13 | 0.016196 | 0.016196
1.0931 | 1093.09 | 0.011163 | 0.011163
1.0951 | 1095.05 | 0.017049 | 0.017049
1.097 | 1097.02 | 0.0064254 | 0.0064254
1.099 | 1098.98 | 0.0051379 | 0.0051379
1.1009 | 1100.94 | 0.01146 | 0.01146
1.1029 | 1102.9 | 0.0089717 | 0.0089717
1.1049 | 1104.87 | 0.010477 | 0.010477
1.1068 | 1106.83 | -0.010862 | -0.010862
1.1088 | 1108.79 | -0.010992 | -0.010992
1.1107 | 1110.75 | 0.0054795 | 0.0054795
1.1127 | 1112.72 | 0.023496 | 0.023496
1.1147 | 1114.68 | 0.016435 | 0.016435
1.1166 | 1116.64 | 0.0039559 | 0.0039559
1.1186 | 1118.6 | 0.001997 | 0.001997
1.1206 | 1120.57 | 0.023251 | 0.023251
1.1225 | 1122.53 | 0.022811 | 0.022811
1.1245 | 1124.49 | -0.0020021 | -0.0020021
1.1264 | 1126.45 | -0.02503 | -0.02503
1.1284 | 1128.42 | 0.67047 | 0.67047
1.1304 | 1130.38 | 2.9598 | 2.9598 | n=1
1.1323 | 1132.34 | 3.5949 | 3.5949
1.1343 | 1134.3 | 3.5544 | 3.5544
1.1363 | 1136.27 | 1.4429 | 1.4429
1.1382 | 1138.23 | 0.16437 | 0.16437
1.1402 | 1140.19 | 0.18937 | 0.18937
1.1421 | 1142.15 | 0.17733 | 0.17733
1.1441 | 1144.12 | 0.17327 | 0.17327
1.1461 | 1146.08 | 0.18353 | 0.18353
1.148 | 1148.04 | 0.18915 | 0.18915
1.15 | 1150 | 0.17964 | 0.17964
1.152 | 1151.97 | 0.16163 | 0.16163
1.1539 | 1153.93 | 0.15558 | 0.15558
1.1559 | 1155.89 | 0.15898 | 0.15898
1.1579 | 1157.85 | 0.17018 | 0.17018
1.1598 | 1159.82 | 2.127 | 2.127
1.1618 | 1161.78 | 3.2924 | 3.2924
1.1637 | 1163.74 | 1.7916 | 1.7916
1.1657 | 1165.7 | 0.23696 | 0.23696
1.1677 | 1167.67 | 0.017998 | 0.017998
1.1696 | 1169.63 | 0.0061226 | 0.0061226
1.1716 | 1171.59 | -0.00047986 | -0.00047986
1.1736 | 1173.55 | 0.013841 | 0.013841
1.1755 | 1175.52 | -0.0166 | -0.0166
1.1775 | 1177.48 | -0.007294 | -0.007294
1.1794 | 1179.44 | 0.012542 | 0.012542
1.1814 | 1181.4 | 0.015414 | 0.015414
1.1834 | 1183.37 | 0.025633 | 0.025633
1.1853 | 1185.33 | 0.010464 | 0.010464
1.1873 | 1187.29 | -0.0026327 | -0.0026327
1.1892 | 1189.25 | -0.0051434 | -0.0051434
1.1912 | 1191.22 | -0.011099 | -0.011099
1.1932 | 1193.18 | -0.0001866 | -0.0001866
1.1951 | 1195.14 | -0.00041207 | -0.00041207
1.1971 | 1197.1 | 0.0020529 | 0.0020529
1.1991 | 1199.07 | 0.0040442 | 0.0040442
1.201 | 1201.03 | 0.015511 | 0.015511
1.203 | 1202.99 | 0.0015938 | 0.0015938
1.2049 | 1204.95 | 0.0049791 | 0.0049791
1.2069 | 1206.91 | 0.01625 | 0.01625
1.2089 | 1208.88 | 0.0070233 | 0.0070233
1.2108 | 1210.84 | 0.0047666 | 0.0047666
1.2128 | 1212.8 | -0.030662 | -0.030662
1.2148 | 1214.76 | -0.019283 | -0.019283
1.2167 | 1216.73 | 0.012943 | 0.012943
1.2187 | 1218.69 | 0.0073071 | 0.0073071
1.2207 | 1220.65 | -0.00086516 | -0.00086516
1.2226 | 1222.61 | 0.0065388 | 0.0065388
1.2246 | 1224.58 | -0.0017482 | -0.0017482
1.2265 | 1226.54 | -0.00026228 | -0.00026228
1.2285 | 1228.5 | -0.02113 | -0.02113
1.2305 | 1230.46 | -0.01741 | -0.01741
1.2324 | 1232.43 | 0.012335 | 0.012335
1.2344 | 1234.39 | 0.007891 | 0.007891
1.2364 | 1236.35 | -0.0033086 | -0.0033086
1.2383 | 1238.31 | -0.058383 | -0.058383
1.2403 | 1240.28 | -0.48307 | -0.48307
1.2422 | 1242.24 | -0.65946 | -0.65946
1.2442 | 1244.2 | -0.60741 | -0.60741
1.2462 | 1246.16 | -0.62537 | -0.62537
1.2481 | 1248.13 | -0.61293 | -0.61293
1.2501 | 1250.09 | -0.62523 | -0.62523
1.2521 | 1252.05 | -0.63967 | -0.63967
1.254 | 1254.01 | -0.63731 | -0.63731